Table 1.  Comparison of the average peak areas and percent relative standard deviations of spiked blanks using ultrapure water and bromate-free drinking water as solvents.

Spiked blanks		              Average peak area a		SD	     RSD, %

(n=7)

Blank using ultrapure water		  	38312			708	       1.85

+ 10 µg L-1 BrO3-

Blank using bromate-free bottled water b	  	38010			729	       1.92

+ 10 µg L-1 BrO3-

a Seven replicates with three measurements per replicate.

b Bottled distilled drinking water (brand:  Absolute).

Table 2.  Comparison between low- BrO3- and high-BrO3-

calibration data in terms of regression and residual analyses

Low-bromate concentration             High-bromate concentration

range, 2 to 150 µg L-1 (n=3)	        range, 150 to 2000 µg L-1 (n=3)

Linear                Quadratic                 Linear                Quadratic

least square         least square            least square          least square

Parameters

Regression equation		y = 10628 +        y = 7198 + 2985 x	           y = 452670 +       y = 396704 + 258 x

2724 x 	     – 1.80 x2		   257.9 x	   - 0.0855 x2

Correlation coefficient, r	  0.9994	       0.9997		 0.8402		      0.9704

Residuals

(absorbance units)

-7.5152                 2907.06          	 -56522		     -25343

460.991                2629.89	          	 -8339.4	     15432.8

-483.49	      514.680	          	 29972		     18273.4

-6824.1	      -7897.1           	 30753		     1247.76

4575.93	      -549.0	         	 33831	                  -2798.91

8630.05                 3958.0      	  	 4694.8		     -14132.2

-6351.8	      -1563.4 	 	 -34389		      7319.78

Table 3.  Intra-batch and inter-batch reproducibility studies for precision

and accuracy of the ion chromatographic method

Intra-batch reproducibility				 Inter-batch reproducibility

Average concentration, µg L-1	                   Average concentration, µg L-1

Concentrationa      Measured           RSD, % Rel.Error, %   Concentrationa      Measured             RSD, % Rel.Error, %

Concentrationb (SD)c		                                             Concentrationb (SD)d

10.00      	9.988 (0.19)        1.93	     0.12	              10.00           9.900 (0.13)       2.01         1.00

50.00      	51.47 (0.42)        0.81         2.94	  	 50.00           50.88 (1.16)       0.62         1.76

a Concentration of prepared BrO3- solution in µg L-1.

b Measured by ion chromatography and calculated using external standard calibration method.

c Mean for seven replicates with three measurements per replicate in one day.

d Mean for seven replicates with three measurements per replicate in five days.

Table 4.  Percent recovery data for low, medium and

high bromate concentrations in tap drinking watera

% Recovery (RSD)b

Low concentration,        Medium concentration,      High concentration,

5.0 µg L-1                         50.0 µg L-1                      100.0 µg L-1

Quantification method

(using peak area)

External standard

calibration			99 (1.84)		   101 (0.89)		       102 (0.77)

Standard addition		89 (1.07)		   101 (1.37)		         99 (1.08)

Quantification method

(using peak height)

External standard

calibration			97 (1.54)		    95 (0.86)		        96 (1.40)

Standard addition		87 (1.13)		    98 (1.60)		       103 (0.77)

a Tap water sample taken from the Faculty Lounge of the Institute of Chemistry, University of the Philippines.

b Mean for seven replicates with three measurements per replicate.