Table 1. Optimum Instrument Conditions for the Agilent 7500cx ICP-MS used in the analysis.

| Instrument Parameters |  |
| --- | --- |
| Rf power | 1550 W |
| Carrier gas flow rate | 0.85 L/min |
| Makeup gas flow rate | 0.25 L/min |
| Nebulizer pump | 0.01 rps |
| Sampling depth | 8.2 mm |
| S/C Temp | 2.0 °C |
| Peripump | 30 rps |

Table 2. Determined concentrations of As, Cd and Pb in certified reference material NIST 1643e (mean ± sd, n=3) in different days.

| Element | Measured Value (μg L-1) |  |  | Certified Value (μg L-1) |
| --- | --- | --- | --- | --- |
|  | Day 1 | Day 2 | Day 3 |  |
| As | 60.4 ± 0.5 | 60.6 ± 0.5 | 60.1 ± 0.7 | 60.45 ± 0.72 |
| Cd | 6.7 ± 0.1 | 6.8 ± 0.2 | 6.6 ± 0.1 | 6.568 ± 0.073 |
| Pb | 19.6 ± 0.5 | 19.3 ± 0.4 | 19.7 ± 0.6 | 19.63 ± 0.21 |

Table 3. Determined concentrations of As, Cd and Pb in drinking water samples (mean ± sd, n=3).

| City/ Municipality | Sample Number | As (μg L-1) |  |  | Cd (μg L-1) |  |  | Pb (μg L-1) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Marikina | 1 | 1.47 | ± | 0.01 | 0.05 | ± | 0.02 | 0.68 | ± | 0.02 |
|  | 2 | 0.38 | ± | 0.02 | 0.07 | ± | 0.02 | 0.30 | ± | 0.07 |
|  | 3 | 0.76 | ± | 0.03 | < MDL |  |  | 0.25 | ± | 0.02 |
| Pasig | 4 | 0.65 | ± | 0.04 | < MDL |  |  | 0.55 | ± | 0.02 |
|  | 5 | 0.49 | ± | 0.02 | < MDL |  |  | 0.26 | ± | 0.04 |
|  | 6 | 0.45 | ± | 0.01 | < MDL |  |  | < MDL |  |  |
| Pateros | 7 | 0.41 | ± | 0.03 | < MDL |  |  | 0.28 | ± | 0.01 |
|  | 8 | 0.38 | ± | 0.02 | < MDL |  |  | 0.66 | ± | 0.01 |
| Makati | 9 | 0.35 | ± | 0.01 | < MDL |  |  | 0.24 | ± | 0.01 |
|  | 10 | 0.36 | ± | 0.01 | < MDL |  |  | 0.75 | ± | 0.02 |
|  | 11 | 0.37 | ± | 0.02 | < MDL |  |  | 0.41 | ± | 0.01 |
| Taguig | 12 | 0.32 | ± | 0.02 | < MDL |  |  | 1.35 | ± | 0.01 |
|  | 13 | 0.33 | ± | 0.04 | < MDL |  |  | 0.34 | ± | 0.01 |
| Muntinlupa | 14 | 5.47 | ± | 0.16 | < MDL |  |  | < MDL |  |  |
|  | 15 | 12.46 | ± | 0.06 | < MDL |  |  | 0.60 | ± | 0.01 |
|  | 16 | 4.61 | ± | 0.15 | < MDL |  |  | 0.67 | ± | 0.01 |
| Parañaque | 17 | 5.06 | ± | 0.06 | < MDL |  |  | < MDL |  |  |
|  | 18 | 3.93 | ± | 0.15 | < MDL |  |  | 0.28 | ± | 0.01 |
|  | 19 | 0.31 | ± | 0.02 | < MDL |  |  | 0.25 | ± | 0.01 |
| Las Piñas | 20 | 3.27 | ± | 0.04 | < MDL |  |  | 1.77 | ± | 0.01 |
|  | 21 | 4.07 | ± | 0.14 | < MDL |  |  | 0.12 | ± | 0.01 |
| Pasay | 22 | 3.18 | ± | 0.04 | < MDL |  |  | 0.12 | ± | 0.01 |
|  | 23 | 0.32 | ± | 0.02 | < MDL |  |  | 0.60 | ± | 0.01 |
|  | 24 | 0.29 | ± | 0.01 | < MDL |  |  | 0.25 | ± | 0.01 |
| Mandaluyong | 25 | 0.31 | ± | 0.05 | < MDL |  |  | 0.71 | ± | 0.01 |
|  | 26 | 0.29 | ± | 0.02 | < MDL |  |  | 0.49 | ± | 0.02 |
|  | 27 | 0.29 | ± | 0.02 | < MDL |  |  | 1.15 | ± | 0.01 |
| Quezon | 28 | 0.26 | ± | 0.03 | 0.11 | ± | 0.01 | 8.62 | ± | 0.04 |
|  | 29 | 0.27 | ± | 0.01 | < MDL |  |  | 0.53 | ± | 0.01 |
|  | 30 | 0.68 | ± | 0.02 | 0.05 | ± | 0.01 | 0.68 | ± | 0.02 |
|  | 31 | 0.37 | ± | 0.02 | < MDL |  |  | 0.48 | ± | 0.01 |
| Valenzuela | 32 | 0.34 | ± | 0.01 | < MDL |  |  | 1.51 | ± | 0.02 |
|  | 33 | 0.54 | ± | 0.05 | < MDL |  |  | 0.69 | ± | 0.01 |
|  | 34 | 0.50 | ± | 0.04 | < MDL |  |  | 0.43 | ± | 0.01 |
| Malabon | 35 | 0.39 | ± | 0.02 | < MDL |  |  | 0.59 | ± | 0.01 |
|  | 36 | 0.28 | ± | 0.03 | < MDL |  |  | < MDL |  |  |
|  | 37 | 0.27 | ± | 0.03 | < MDL |  |  | 0.44 | ± | 0.01 |
| Navotas | 38 | 0.25 | ± | 0.03 | < MDL |  |  | 0.51 | ± | 0.00 |
|  | 39 | 0.28 | ± | 0.01 | < MDL |  |  | 0.65 | ± | 0.01 |
|  | 40 | 0.26 | ± | 0.01 | < MDL |  |  | 0.17 | ± | 0.01 |
| Caloocan | 41 | 0.30 | ± | 0.04 | < MDL |  |  | 0.14 | ± | 0.01 |
|  | 42 | 0.25 | ± | 0.02 | < MDL |  |  | 0.16 | ± | 0.01 |
|  | 43 | 0.23 | ± | 0.01 | < MDL |  |  | 1.28 | ± | 0.01 |
| Manila | 44 | 0.27 | ± | 0.02 | < MDL |  |  | 0.13 | ± | 0.01 |
|  | 45 | 0.23 | ± | 0.03 | < MDL |  |  | 1.15 | ± | 0.01 |
|  | 46 | 0.21 | ± | 0.03 | < MDL |  |  | 0.64 | ± | 0.01 |
|  | 47 | 0.25 | ± | 0.02 | < MDL |  |  | 1.04 | ± | 0.01 |
| San Juan | 48 | 0.30 | ± | 0.02 | < MDL |  |  | 1.07 | ± | 0.01 |
|  | 49 | 0.27 | ± | 0.04 | < MDL |  |  | 18.98 | ± | 0.08 |
|  | 50 | 12.96 | ± | 0.12 | 0.05 | ± | 0.01 | 6.72 | ± | 0.05 |